## DATA
INPUT DATA SHEET
Project : | TK9764 - I/C No. 10 | [6 empty] | Deisgned : | C. Malek
Bridge : | AT STA. 0+100 - LEFT & RIGHT | [6 empty] | Checked : | G. Marj
Date : | 2026-07-31 | [6 empty] | Approved : | G. Marj
GEOMETRY |  |  |  | DECK REACTIONS (kN)
|  |  |  | Vertical Reactions |  |  |  |  | Lateral loads (kN)
BF= | 8 | (m)
BT= | 3.2 | (m) |  | (KN) | DL | Prestress | LL | Xi (m) | a-Longitudinal |  | -1400
EB= | 0.5 | (m) | -2610 | P1 = | 261 | 0 | 140 | -10 | a- |  | -1400
WC= | 0.5 | (m) | -1957.5 | P2 = | 261 | 0 | 140 | -7.5 | H(brak.) | 63 | -1050
WB= | 0.3 | (m) | -1305 | P3 = | 261 | 0 | 140 | -5 | H(E.Q.) | 321.813 | -700
WA= | 3.5 | (m) | -652.5 | P4 = | 261 | 0 | 140 | -2.5 |  |  | -350
WD= | 0 | (m) | 0 | P5 = | 261 | 0 | 140 | 0 | b-Transversal |  | 0
BC= | 1.3 | (m) | 652.5 | P6 = | 261 | 0 | 140 | 2.5 | b- |  | 350
BW= | 0 | (m) | 1305 | P7 = | 261 | 0 | 140 | 5 | H(E.Q.) | 364.968 | 700
BX= | 0 | (m) | 1957.5 | P8 = | 261 | 0 | 140 | 7.5 |  |  | 1050
HS= | 10.5 | (m) | 2610 | P9 = | 261 | 0 | 140 | 10 |  |  | 1400
HF= | 1.5 | (m) | 0 | P10 = | 0 | 0 | 0 | 0 |  |  | 0
HB= | 1.9 | (m) | 0 | P11 = | 0 | 0 | 0 | 0 |  |  | 0
HG= | 0 | (m) | 0 | P12 = | 0 | 0 | 0 | 0 |  |  | 0
HT= | 0.6 | (m) | 0 |  | 2349 | 0 | 1260 |  |  |  | 0
LS= | 25 | (m) |  | Soil data |  |  | Materials
CR= | 0.3 | (m) |  | g = | 18 | kN/m³ | f'c = | 25000 | kN/m²
CC= | 7 | (m) |  | f = | 35 | degree | fy = | 420000 | kN/m²
LF= | 25 | (m) |  | Ka = | 0.27099 |  | gm = | 17 | kN/m3
WAW= | 0 | (m) |  | m = | 0.5 | base fric. | Horizontal Load factors
TH= | 0 | (m) |  | Surch. = | 11 | kN/m² | Braking | 5 | % of L.L.
WS= | 3 | (m) |  | i = | 0 | degree | Earthquake | 13.7 | % of Mass
WH= | 0.75 | (m) |  | b = | 0 | degree
WT= | 0.3 | (m) |  | d = | 0 | degree
WW= | 3 | (m) |  | A = | 0.4 | Acc. Coeff.
|  |  |  | Kh = | 0.2 | = A/2
|  |  |  | Kv= | 0
|  |  |  | q = | 11.3099 | degree
|  |  |  | Y = | 2.2046
|  |  |  | KAE = | 0.39559
PRINT OPTIONS
INPUT DATA
INPUT + OUTPUT
INPUT + OUTPUT + CHECK SPREAD
INPUT + OUTPUT + CHECK PILES
INPUT + OUTPUT + SPREAD + DESIGN
INPUT + OUTPUT + PILES + DESIGN
BAR BENDING GEOMETRY INPUT
BAR BENDING INPUT + SCHEDULES
Note on B30: Input values in blue only
* Shall be = WA
if wing wall is
needed or = 0
EB
C1
C5
C3
C4
S1
BF
HF
HS
HT
HG
HB
S2
P1- P11
WA
WB
WC
EB
BT
CR
CR
LS
P1
P11
LF
C5
C1
CC
C6
S6
S7
C2
S5
BW
BC
WD
BX
WT
WW
C3
WH
Xi
WAW *
TH
WS

## OUTPUT
TK9764 - I/C No. 10
OUTPUT DATA SHEET
1 - Own weight |  |  | Arm. (m) | Moment (kN.m) |  | 2 - Soil Loads |  |  | Arm. (m) | Moment (kN.m)
C1 = | 6987.5 | (kN) | 3.85 | 26901.875 |  | S1 = | 16537.5 | (kN) | 6.25 | 103359.375
C2 = | 0 | (kN) | - | - |  | S2 = | 864 | (kN) | 1.6 | 1382.4
C3 = | 0 | (kN) | 3.85 | 0 |  | S5 = | 0 | (kN) | - | -
C4 = | 356.25 | (kN) | 4.35 | 1549.6875 |  | S6 = | 0 | (kN) | - | -
C5 = | 7500 | (kN) | 4 | 30000 |  | S7 = | 0 | (kN) | - | -
C6 = | 28.5 | (kN) | 3.7 | 105.45 |  | Total | 17401.5 | (kN) |  | 104741.775
C7 = | 0 | (kN) | 0 | 0
C8 = | 84.375 | (kN) | 5.7 | 480.9375
Total | 14956.625 | (kN) |  | 59037.95
3- Abut. Dynamic forces |  |  | Arm. (m) | Moment (kN.m) |  | 4 - Static Earth pressure |  |  | Arm. (m) | Moment (kN.m)
E14 = | 71.25 | (kN) | 11.05 | 787.3125 |  | Ka = | 0.27099
E15 = | 0 | (kN) | - | - |  | es1 = | 58.5339 | (kN/m2) | - | -
E16 = | 1397.5 | (kN) | 5.8 | 8105.5 |  | es2 = | 2.9809 | (kN/m2) | - | -
E17 = | 0 | (kN) | - | - |  | EP1 = | 8780.0778 | (kN) | 4 | 35120.311
E18 = | 1500 | (kN) | 0.75 | 1125 |  | EP2 = | 894.2672 | (kN) | 6 | 5365.6031
E19 = | 16.875 | (kN) | 11.625 | 196.1719 | Total (under construction) |  | 8780.0778 | (kN) | - | 35120.311
E20 = | 0 | (kN) | 10.8667 | 0 | Total (surcharge) |  | 894.2672 | (kN) | - | 5365.6031
E21 = | 598.5 | (kN) | 11.05 | 6613.425
E22 = | 2709 | (kN) | 5.8 | 15712.2
E23 = | 0 | (kN) | 6.5166 | 0
E24 = | 0 | (kN) | 5.8 | 0
E25 = | 16.875 | (kN) | 10.95 | 184.7812
Total | 6310 | (kN) |  | 32724.3906
TK9764 - I/C No. 10
|  |  |  | Longitu. | Transver.
5 - Deck Reactions |  |  | Arm. (m) | Moment (kN.m) | Moment (kN.m) | 6-Soil Dynamic Pressures |  |  | Arm. (m) | Moment (kN.m)
D.L. | 2349 | (kN) | 3.7 | 8691.3 | 0 | Ka = | 0.27099
L.L. | 1260 | (kN) | 3.7 | 4662 | 0 | es3 = | 26.9127 | (kN/m2) | - | -
Brack | 63 | (kN) | 8.6 |  | - | EP3 = | 4036.9026 | (kN) | 7.2 | 29065.6985
[6 empty] | Total | 4036.9026 | (kN) |  | 29065.6985
Bearings (R+S+T) Reaction |  |  |  | Arm. (m) | Moment (kN.m)
R+S+T | 0 | (kN) |  | 10.1 | 0
7- Earthquake reaction |  |  | Arm. (m) | Moment (kN.m) |  | g = | 18 | kN/m³
E.Q. | 321.813 | (kN) | 10.1 | 3250.3113 |  | q = | 11.3099 | degree
[6 empty] | Y = | 2.2046
8 - Surcharge |  |  | Arm. (m) | Moment (kN.m) |  | KAE = | 0.39559
L.L. | 962.5 | (kN) | 6.25 | 6015.625 |  | Kdyn. = | 0.1246
9- Bill Of Quantities
Concrete |  | 595.4375 | (m3)
E18
E17
E16
E15
E14
E21
E22
E23
E24
EP3
es3
Dynamic Pressures
EP2
EP1
es1
Static Pressures
es2

## Service1
TK9764 - I/C No. 10
CHECKING FOR STABILITY
A- CHECKING DURING CONSTRUCTION
Group I ( D.L. + EP. + Surch.)
1 - Check for sliding |  |  |  |  | 2 - Check for overturning
1 - |  |  |  |  | 2 -
Total Vertical load |  | N = | 33320.625 | (kN) | Overturning Moment |  | Mo = | 40485.9141 | (kN.m)
Total Lateral load |  | F = | 9674.3449 | (kN) | Stabilising Moment |  | Ms = | 169795.35 | (kN.m)
Factor of safety |  | F.O.S. = | 1.7221 |  | Factor of safety |  | F.O.S. = | 4.1939
Group I ( D.L. + EP. )
1 - Check for sliding |  |  |  |  | 2 - Check for overturning
1 - |  |  |  |  | 2 -
Total Vertical load |  | N = | 32358.125 | (kN) | Overturning Moment |  | Mo = | 35120.311 | (kN.m)
Total Lateral load |  | F = | 8780.0778 | (kN) | Stabilising Moment |  | Ms = | 163779.725 | (kN.m)
Factor of safety |  | F.O.S. = | 1.8427 |  | Factor of safety |  | F.O.S. = | 4.6634
B- CHECKING AT SERVICE LOADING
Group I ( D.L. + L.L.+ EP. + Surch.)
1 - Check for sliding |  |  |  |  | 2 - Check for overturning
1 - |  |  |  |  | 2 -
Total Vertical load |  | N = | 36929.625 | (kN) | Overturning Moment |  | Mo = | 40485.9141 | (kN.m)
Total Lateral load |  | F = | 9737.3449 | (kN) | Stabilising Moment |  | Ms = | 183148.65 | (kN.m)
Factor of safety |  | F.O.S. = | 1.8963 |  | Factor of safety |  | F.O.S. = | 4.5238
TK9764 - I/C No. 10
3 - Check for stresses
Mnet = | 142662.7359 | (kN.m)
N = | 36929.625 | (kN)
X = | 3.8631 | (m)
ecc. = | 0.1369 | (m)
Mfinal longitudinal = |  | 5055.7641 | (kN.m)
Mfinal transversal = |  | 0 | (kN.m)
Total bearing pressures
q1 = | 203.6072 | (kN/m2) |  | Area of base |  | 200 | (m2)
q2 = | 203.6072 | (kN/m2) |  | Inertia longitudinal |  | 1066.6667 | (m4)
q3 = | 165.689 | (kN/m2) |  | Inertia transversal |  | 10416.6667 | (m4)
q4 = | 165.689 | (kN/m2) |  | Y longitudinal |  | 4 | (m)
|  |  |  | Y transversal |  | 12.5 | (m)
qmax = | 203.6072 | (kN/m2) | Corresponding to a net bearing pressure of |  |  |  | 165.8072 | (kN/m2)
|  | qaverage/net = 3/4 qmax/net + 1/4 qmin/net = |  |  |  |  | 156.3277 | (kN/m2)
q4
q1
q2
q3
BF
LF

## Service2 (hidden)
C- DURING EARTHQUAKE |  |  |  |  | C-
Group VII ( D.L. + EP. + E.Q.) |  |  |  |  | Stresses | 133%
1 - Check for sliding |  |  |  |  | 2 - Check for overturning
1 - |  |  |  |  | 2 -
Total Vertical load |  | N = | 34707.125 | (kN) | Overturning Moment |  | Mo = | 100160.7115 | (kN.m)
Total Lateral load |  | F = | 19448.7933 | (kN) | Stabilising Moment |  | Ms = | 172471.025 | (kN.m)
Factor of safety |  | F.O.S. = | 0.89227 |  | Factor of safety |  | F.O.S. = | 1.7219
3 - Check for stresses
Mnet = | 72310.3135 | (kN.m)
N = | 34707.125 | (kN)
X = | 2.0834 | (m)
ecc. = | 1.9166 | (m)
Mfinal longitudinal = |  | 66518.1865 | (kN.m)
Mfinal transversal = |  | 3686.1768 | (kN.m)
q1 = | 427.4022 | (kN/m2) |  | Area of base |  | 200 | (m2)
q2 = | 418.5554 | (kN/m2) |  | Inertia longitudinal |  | 1066.6667 | (m4)
q3 = | -80.331 | (kN/m2) |  | Inertia transversal |  | 10416.6667 | (m4)
q4 = | -71.4842 | (kN/m2) |  | Y longitudinal |  | 4 | (m)
|  |  |  | Y transversal |  | 12.5 | (m)
qmax = | 427.4022 | (kN/m2) | Corresponding to a net bearing pressure of |  |  |  | 285.3551 | (kN/m2)
Acceptable
II- Foundation on piles
1 - Foundation Inertia
d |  | 1.8 | (m)
d' |  | 3.5 | (m)
D |  | 1.2 | (m)
No piles/row |  | 2
No rows |  | 2
S x2 = |  | 12.96 | (m2)
S y2 = |  | 49 | (m2)
Pile Capacity = |  | 300 | t
BEFORE REDUCTION
GROUP | Pile1 (t) | Pile2 (t) | Pile3 (t) | Pile4 (t) | % | Shea long. (t) | Shea tran. (t)
VII | 1857.3664 | 1725.7172 | 9.639 | -122.0102 | 133 | 486.2198 | 486.2198
q4
q1
q2
q3
BF
LF
Longitudinal
d
d
D
d
d
d'
d'
x
y
Pile 1
Pile 2
Pile 3
Pile 4
d
d
d'
d'

## Ultimate (hidden)
A- Ultimate Combination
1.3x(D.L. + Vertical EP.) 1.3x1.3x(Lateral EP.) + 1.3x1.67x(LL)
Total Vertical load |  | N = | 49944.31 | (kN) | Overturning Moment |  | Mo = | 71002.0499 | (kN.m)
Total Lateral load |  | F = | 16916.5584 | (kN) | Stabilising Moment |  | Ms = | 247393.4564 | (kN.m)
1 - Check for stresses
Mnet = | 176391.4065 | (kN.m)
N = | 49944.31 | (kN)
X = | 3.5318 | (m)
ecc. = | 0.46824 | (m)
Mfinal longitudinal = |  | 23385.8335 | (kN.m)
Mfinal transversal = |  | 0 | (kN.m)
q1 = | 337.4184 | (kN/m2) |  | Area of base |  | 200 | (m2)
q2 = | 337.4184 | (kN/m2) |  | Inertia longitudinal |  | 1066.6667 | (m4)
q3 = | 162.0247 | (kN/m2) |  | Inertia transversal |  | 10416.6667 | (m4)
q4 = | 162.0247 | (kN/m2) |  | Y longitudinal |  | 4 | (m)
|  |  |  | Y transversal |  | 12.5 | (m)
q4
q1
q2
q3
BF
LF

## Service2
TK9764 - I/C No. 10
CHECKING FOR STABILITY
C- CHECKING DURING EARTHQUAKE
Group VII ( D.L. + EP. + E.Q.) |  |  |  |  | Stresses | 133%
1 - Check for sliding |  |  |  |  | 2 - Check for overturning
1 - |  |  |  |  | 2 -
Total Vertical load |  | N = | 34707.125 | (kN) | Overturning Moment |  | Mo = | 100160.7115 | (kN.m)
Total Lateral load |  | F = | 19448.7933 | (kN) | Stabilising Moment |  | Ms = | 172471.025 | (kN.m)
Factor of safety |  | F.O.S. = | 0.89227 |  | Factor of safety |  | F.O.S. = | 1.7219
3 - Check for stresses
Mnet = | 72310.3135 | (kN.m)
N = | 34707.125 | (kN)
X = | 2.0834 | (m)
ecc. = | 1.9166 | (m)
Mfinal longitudinal = |  | 66518.1865 | (kN.m)
Mfinal transversal = |  | 3686.1768 | (kN.m)
Total bearing pressures
q1 = | 427.4022 | (kN/m2) |  | Area of base |  | 200 | (m2)
q2 = | 418.5554 | (kN/m2) |  | Inertia longitudinal |  | 1066.6667 | (m4)
q3 = | -80.331 | (kN/m2) |  | Inertia transversal |  | 10416.6667 | (m4)
q4 = | -71.4842 | (kN/m2) |  | Y longitudinal |  | 4 | (m)
|  |  |  | Y transversal |  | 12.5 | (m)
qmax = | 427.4022 | (kN/m2) | Corresponding to a net bearing pressure of |  |  |  | 283.5551 | (kN/m2)
|  | qaverage/net = 3/4 qmax/net + 1/4 qmin/net = |  |  |  |  | 183.1336 | (kN/m2)
q4
q1
q2
q3
BF
LF

## Piles
TK9764 - I/C No. 10
PILE DATA SHEET
A- PILE REACTIONS
1 - Piles & Pile Cap Data
Row | No. Piles | d | p | s | n1 | n2 | Ymax | S x2 | S y2
1 | 10 | 1 | 1.25 | 2.5 | 4 | 4.5 | 11.25 | 83.2101 | 515.625
2 | 6 | 3.5 | 2.5 | 5 | 2 | 2.5 | 12.5 | 0.88757 | 437.5
3 | 10 | 7 | 1.25 | 2.5 | 4 | 4.5 | 11.25 | 97.0562 | 515.625
- |  |  |  |  | - | - | - | 0 | 0
- |  |  |  |  | - | - | - | 0 | 0
3 rows | 26 | Xcog = | 3.8846 | m | Ycog = | 12.5 | m | 181.1538 | 1468.75
|  |  | Pile Diameter = |  | 1000 | mm
|  |  | Pile Capacity = |  | 1500 | KN
PILE REACTIONS (UNFACTORED WORKING LOADS)
GROUP | Pile1 (KN) | Pile2 (KN) | Pile3 (KN) | Pile4 (KN) | Pile5 (KN) | Pile6 (KN) | Allowable increase in capacity | Shear long. (KN) | Shear tran. (KN)
I | 1433.0239 | 1433.0239 | 1406.7042 | 1406.7042 | 1422.0574 | 1422.0574 | 100 | 374.5133 | -
VII | 2358.5622 | 2302.0931 | 288.0507 | 231.5816 | 1436.2428 | 1498.9862 | 133 | 748.0305 | 12.3774
B- DESIGN LOADS
PILE REACTIONS (FACTORED ULTIMATE LOADS)
GROUP | Pile1 (KN) | Pile2 (KN) | Pile3 (KN) | Pile4 (KN) | Pile5 (KN) | Pile6 (KN) | Allowable increase in capacity | Shear long. (KN) | Shear tran. (KN)
I | 2201.5565 | 2201.5565 | 1617.8638 | 1617.8638 | 1958.3512 | 1958.3512 | 100 | 650.6369 | -
VII | 1773.355 | 1730.897 | 216.5795 | 174.1215 | 1079.8818 | 1127.0573 | 133 | 562.429 | 9.3063
1 - Pile Cap Analysis |  |  |  | Moments |  | Shear
Row | No. Piles | d |  | G I | G VII | G I | G VII
1 | 10 | 1 | 1.25 | 1937.3697 | 1541.8709 | 880.6226 | 700.8504
2 | 6 | 3.5 | 2.5 | -470.0043 | -264.8327 | 470.0043 | 264.8327
3 | 10 | 7 | 1.25 | 1617.8638 | 195.3505 | 647.1455 | 78.1402
- | 0 | 0 | 0
- | 0 | 0 | 0
3 rows | 26 |  | Toe | 1937.3697 | 1541.8709 | 880.6226 | 700.8504
|  |  | Heel | 1147.8595 | -69.4822 | 1117.1498 | 342.9729
TK9764 - I/C No. 10
Longitudinal
D
p3
x
y
Pile 1
Pile 2
Pile 3
Pile 4
d1
d2
d3
d1
Pile 6
Pile 5
s2
s3
d2
d3
s1
p1
p2
Transversal

## Design Mom-Piles
TK9764 - I/C No. 10
DESIGN FOR MOMENT
1 - Stem
1 -
(per meter)
|  | A = | 1.3 | (m2)
|  | Yt = | 0.65 | (m)
|  | Ig = | 0.18308 | (m4)
Stem |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 1994.2757 |  |  | 2807.696
d = | m | 1.17 |  |  | 1.17
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 885.1413 |  |  | 885.1413
1.2 Mcr = | KN.m | 1062.1695 | 1.2 Mcr < Mu, OK |  | 1062.1695 | 1.2 Mcr < Mu, OK
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 1.6187 |  |  | 2.279
r = | % | 0.40133 |  |  | 0.57532
a = | cm | 9.2805 | 0.33 |  | 13.3041 | 0.33
As = | cm2 | 46.9551 |  |  | 67.3122
2 - Toe
2 -
(per meter)
|  | A = | 1.5 | (m2)
|  | Yt = | 0.75 | (m)
|  | Ig = | 0.28125 | (m4)
Toe |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 1438.1697 |  |  | 1157.8709
d = | m | 1.35 |  |  | 1.35
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 1178.4425 |  |  | 1178.4425
1.2 Mcr = | KN.m | 1414.131 | 1.2 Mcr < Mu, OK |  | 1414.131 | Redesign elastic
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 0.8768 |  |  | 0.70591
r = | % | 0.21326 |  |  | 0.17096 | use rmin = 0.18%
a = | cm | 5.6902 | 27 |  | 4.5617 | 27
As = | cm2 | 28.7896 |  |  | 23.0799 | Asmin = 27 cm2
TK9764 - I/C No. 10
3 - Heel
3 -
(per meter)
|  | A = | 1.5 | (m2)
|  | Yt = | 0.75 | (m)
|  | Ig = | 0.28125 | (m4)
Heel |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 655.6467 |  |  | 1456.7947
d = | m | 1.35 |  |  | 1.35
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 1178.4425 |  |  | 1178.4425
1.2 Mcr = | KN.m | 1414.131 | Redesign elastic |  | 1414.131 | 1.2 Mcr < Mu, OK
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 0.39972 |  |  | 0.88815
r = | % | 0.096085 | use rmin = 0.18% |  | 0.21608
a = | cm | 2.5638 | 27 |  | 5.7655
As = | cm2 | 12.9714 | Asmin = 27 cm2 |  | 29.1707
Summary of Reinforcement 1/2
Foundation
POZ | As | CAP | ARALIK | ARALIK | ADET
No. | cm2 / m | DIAM. mm | SPAC. Cm | SPAC. Cm | No.
1 | 28.7896 | 20 | 10.9123 | 15 | Unacceptable Spac.
2 | - |  | - |  | -
3 | 29.1707 | 20 | 10.7697 | 15 | Unacceptable Spac.
4 | - |  | - |  | -
5 | 27 | 25 | 18.1805 | 15 | Spac. OK
6 | 27 | 25 | 18.1805 | 15 | Spac. OK
7 | 27 | 25 | 18.1805 | 15 | Spac. OK
8 | 5.3333 | 14 | 28.8634 | 25 | Spac. OK
9 | 5.3333 | 16 | 37.6991 | 25 | Spac. OK
10 | 5.3333 | 16 | 37.6991 | 25 | Spac. OK
11 | 19.5 | 20 | 16.1107 | 15 | Spac. OK
12 | 53.328 | 32 | 15.0812 | 15 | Spac. OK
13 | 13.9842 | 25 | 35.102 | 15 | Spac. OK
14 | 3 | 20 | - | 100 | Spac. OK
TK9764 - I/C No. 10
Summary of Reinforcement 2/2
wall
POZ | As | CAP | ARALIK | ARALIK | ADET
No. | cm2 / m | DIAM. mm | SPAC. Cm | SPAC. Cm | No.
18 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Wall min horiz/face
27 | #VALUE! | 14 | #VALUE! | 15 | #VALUE! |  | BackWall min horiz
23 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Back Wall min vert
24 | - | 14 | - | - | - |  | Bracket long steel
25 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Bracket Main steel
26 | - | 16 | - | 20 | - |  | Bracket Dowel bars
03
12
13
11
01
02
05,06 & 07
05,06 & 07
3
3
2
2
1
1
04
08, 09&10
14

## Design Mom-Spread
TK9764 - I/C No. 10
DESIGN FOR MOMENT
1 - Stem
1 -
(per meter)
|  | A = | 1.3 | (m2)
|  | Yt = | 0.65 | (m)
|  | Ig = | 0.18308 | (m4)
Stem |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 1994.2757 |  |  | 2807.696
d = | m | 1.17 |  |  | 1.17
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 885.1413 |  |  | 885.1413
1.2 Mcr = | KN.m | 1062.1695 | 1.2 Mcr < Mu, OK |  | 1062.1695 | 1.2 Mcr < Mu, OK
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 1.6187 |  |  | 2.279
r = | % | 0.40133 |  |  | 0.57532
a = | cm | 9.2805 | 0.33 |  | 13.3041 | 0.33
As = | cm2 | 46.9551 |  |  | 67.3122
2 - Toe
2 -
(per meter)
|  | A = | 1.5 | (m2)
|  | Yt = | 0.75 | (m)
|  | Ig = | 0.28125 | (m4)
Toe |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 1228.3823 |  |  | -795.2947
d = | m | 1.35 |  |  | 1.35
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 1178.4425 |  |  | 1178.4425
1.2 Mcr = | KN.m | 1414.131 | Redesign elastic |  | 1414.131 | Redesign elastic
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 0.7489 |  |  | -0.48486
r = | % | 0.18157 |  |  | -0.11416 | use rmin = 0.18%
a = | cm | 4.8446 | 27 |  | -3.0459 | 27
As = | cm2 | 24.5116 |  |  | -15.411 | Asmin = 27 cm2
TK9764 - I/C No. 10
3 - Heel
3 -
(per meter)
|  | A = | 1.5 | (m2)
|  | Yt = | 0.75 | (m)
|  | Ig = | 0.28125 | (m4)
Heel |  | GROUP I |  |  | GROUP VII
Mu = | KN.m | 811.1051 |  |  | 1387.3125
d = | m | 1.35 |  |  | 1.35
fr = | Mpa | 3.1425 |  |  | 3.1425
Mcr = | KN.m | 1178.4425 |  |  | 1178.4425
1.2 Mcr = | KN.m | 1414.131 | Redesign elastic |  | 1414.131 | Redesign elastic
m = |  | 19.7647 |  |  | 19.7647
Rn = | Mpa | 0.4945 |  |  | 0.84579
r = | % | 0.11914 | use rmin = 0.18% |  | 0.20555
a = | cm | 3.179 | 27 |  | 5.4847
As = | cm2 | 16.084 | Asmin = 27 cm2 |  | 27.7499
Summary of Reinforcement 1/2
Foundation
POZ | As | CAP | ARALIK | ARALIK | ADET
No. | cm2 / m | DIAM. mm | SPAC. Cm | SPAC. Cm | No.
1 | 27 | 25 | 18.1805 | 15 | Spac. OK
2 | - |  | - |  | -
3 | 27.7499 | 25 | 17.6892 | 15 | Spac. OK
4 | - |  | - |  | -
5 | 27 | 25 | 18.1805 | 15 | Spac. OK
6 | 27 | 25 | 18.1805 | 15 | Spac. OK
7 | 27 | 25 | 18.1805 | 15 | Spac. OK
8 | 5.3333 | 14 | 28.8634 | 25 | Spac. OK
9 | 5.3333 | 16 | 37.6991 | 25 | Spac. OK
10 | 5.3333 | 16 | 37.6991 | 25 | Spac. OK
11 | 19.5 | 20 | 16.1107 | 15 | Spac. OK
12 | 53.328 | 32 | 15.0812 | 15 | Spac. OK
13 | 13.9842 | 25 | 35.102 | 15 | Spac. OK
14 | 3 | 20 | - | 100 | Spac. OK
TK9764 - I/C No. 10
Summary of Reinforcement 2/2
wall
POZ | As | CAP | ARALIK | ARALIK | ADET
No. | cm2 / m | DIAM. mm | SPAC. Cm | SPAC. Cm | No.
18 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Wall min horiz/face
27 | #VALUE! | 14 | #VALUE! | 15 | #VALUE! |  | BackWall min horiz
23 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Back Wall min vert
24 | - | 14 | - | - | - |  | Bracket long steel
25 | #VALUE! | 16 | #VALUE! | 15 | #VALUE! |  | Bracket Main steel
26 | - | 16 | - | 20 | - |  | Bracket Dowel bars
03
12
13
11
01
02
05,06 & 07
05,06 & 07
3
3
2
2
1
1
04
08, 09&10
14

## Design shear-Piles
TK9764 - I/C No. 10
DESIGN FOR SHEAR
1 - Stem
1 -
(per meter)
Stem |  | GROUP I |  |  | GROUP VII
Vu = | KN/m | 527.8457 |  |  | 597.7925
d = | m | 1.17 |  |  | 1.17
vu = | Mpa | 0.45115 |  |  | 0.51093
vc = | Mpa | 0.83 |  |  | 0.833
f vc = | Mpa | 0.7055 | Ø vc > vu, OK |  | 0.7055 | Ø vc > vu, OK
2 - Toe
2 -
(per meter)
Toe |  | GROUP I |  |  | GROUP VII
Vu = | KN/m | 724.6226 |  |  | 580.8504
d = | m | 1.35 |  |  | 1.35
vu = | Mpa | 0.53676 |  |  | 0.43026
vc = | Mpa | 0.83 |  |  | 0.833
f vc = | Mpa | 0.7055 | Ø vc > vu, OK |  | 0.7055 | Ø vc > vu, OK
3 - Heel
3 -
(per meter)
0
Heel |  | GROUP I |  |  | GROUP VII
Vu = | KN/m | -14.078 |  |  | 408.8348
d = | m | 1.35 |  |  | 1.35
vu = | Mpa | -0.010428 |  |  | 0.30284
vc = | Mpa | 0.83 |  |  | 0.833
f vc = | Mpa | 0.7055 | Ø vc > vu, OK |  | 0.7055 | Ø vc > vu, OK
4 - Check for Punching
4 -
(per meter)
|  | b0 = | 4.0957 | (m)
|  | d = | 1.35 | (m)
Corner Pile |  | GROUP I |  |  | GROUP VII
Pmax = | KN | 2201.5565 |  |  | 1773.355
Vn = | KN | 8846.6811 |  |  | 8846.6811
f Vn = | KN | 7519.6789 | Ø Vn > Pmax, OK |  | 7519.6789 | Ø Vn > Pmax, OK

## Design shear-Spread
TK9764 - I/C No. 10
DESIGN FOR SHEAR
1 - Stem
1 -
(per meter)
Stem |  | GROUP I |  | GROUP VII
Vu = | KN/m | 527.8457 |  | 597.7925
d = | m | 1.17 |  | 1.17
vu = | Mpa | 0.45115 |  | 0.51093
vc = | Mpa | 0.83 |  | 0.833
f vc = | Mpa | 0.7055 | Ø vc > vu, OK | 0.7055 | Ø vc > vu, OK
2 - Toe
2 -
(per meter)
Toe |  | GROUP I |  | GROUP VII
Vu = | KN/m | 468.2241 |  | -209.804
d = | m | - |  | 1.35
vu = | Mpa | #VALUE! |  | -0.15541
vc = | Mpa | 0.83 |  | 0.833
f vc = | Mpa | 0.7055 | #VALUE! | 0.7055 | Ø vc > vu, OK
3 - Heel
3 -
(per meter)
0
Heel |  | GROUP I |  | GROUP VII
Vu = | KN/m | 284.7145 |  | 486.975
d = | m | 1.35 |  | 1.35
vu = | Mpa | 0.2109 |  | 0.36072
vc = | Mpa | 0.83 |  | 0.833
f vc = | Mpa | 0.7055 | Ø vc > vu, OK | 0.7055 | Ø vc > vu, OK

## combinations (hidden)
ACTION |  | D | (L+I)n | (L+I)p | CF | E | B | SF | W | WL | LF | R+S+T | EQ | ICE
N | (t) | #VALUE! | #VALUE! |  |  | #REF! |  |  |  |  | #REF! |  | #REF!
V | (t) | #VALUE! | #VALUE! |  |  | #REF! |  |  |  |  | #REF! |  | #REF!
M | (t.m) | #VALUE! | #VALUE! |  |  | #REF! |  |  |  |  | #REF! |  | #REF!
T | (t)
GROUP (N)
g{ bD.D + b1.(L+I) + bc.CF+ bE.E + bB.B + bS.SF + bW.W + bWL.WL + bL.LF + bR.(R+S+T) + bEQ.EQ + bICE.ICE}
bE = | 1
Col. No. | 1 | 2 | 3 | 3A | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
b FACTORS
GROUP | g | D | (L+I)n | (L+I)p | CF | E | B | SF | W | WL | LF | R+S+T | EQ | ICE | %
I | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 100
IA | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150
IB | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
II | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 125
III | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0.3 | 1 | 1 | 0 | 0 | 0 | 125
IV | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 125
V | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 140
VI | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0.3 | 1 | 1 | 1 | 0 | 0 | 140
VII | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 133
VIII | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 140
IX | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 150
X | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
GROUP | 1 1: N; 1 2: V; 1 3: M; 1 3A: %
I | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 100
IA | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 150
IB | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: -
II | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 125
III | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 125
IV | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 125
V | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 140
VI | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 140
VII | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 133
VIII | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 140
IX | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 150
X | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!; 1 3A: 100
MAX | 1 1: #VALUE!; 1 2: #VALUE!; 1 3: #VALUE!
SERVICE LOADS
SERVICE LOADS