## Beam 01
Doha International Airport |  |  |  |  | DAR AL-HANDASAH CONSULTANTS
Q0073/2 | [6 empty] | Shair and Partners
DESIGN OF PRECAST PRESTRESSED COMPOSITE BEAMS
CHECK OF CRITICAL SECTION
(All Units are MN and m)
INPUT
A-PROPERTIES OF MID SPAN SECTION | [6 empty] | B- LOADING
PRECAST SECTION | [6 empty] | M OWBeam |  | 0.429
DEPTH= | 0.525 | [5 empty] | M OWDeck |  | 0.183
AREA= | 0.361 | [5 empty] | M SDL |  | 0
Y1= | -0.232 | [5 empty] | M LL |  | 0.488
Y2= | 0.293 | [5 empty] | Final Losses |  | 0.15
INERTIA= | 0.01296
Z1= | -0.055862
Z2= | 0.044232
COMPOSITE SECTION | [6 empty] | C- ALLOWABLE STRESSES
AREA= | 0.492
Y1(m)= | -0.16 | [5 empty] | Ftt | -3.5
Y2(m)= | 0.365 | [5 empty] | Fct | 19.2
Y3(m)= | -0.16 | [5 empty] | Ftw | -3.15
Y4(m)= | -0.235 | [5 empty] | Fcw | 21
INERTIA= | 0.02
Z1= | -0.125
Z2= | 0.054795
Z3= | -0.125
Z4= | -0.085106
OUTPUT
A- ECCENTRCITIES FOR A PRESTRESSING FORCE
(Pt is prestressing force after initial losses)
Pt | e1 | e2 | e3 | e4 | emin | emax
3.6 | 0.32822 | 0.23254 | 0.042645 | 0.16068 | 0.16068 | 0.23254
inside feasible range
B- LIMITING PRESTRESSING FORCES
Ptmin = | 1.4247 | Ptmax = | 6.0656 |  |  | 1.4247
C- NORMAL STRESSES
Pt= | 3.6
input e= | 0.203
| St1 | St2 | St3
f1 | 4.5697 | 8.3121 | 12.2161
f2 | 16.7954 | 8.684 | -0.222
f3 |  |  | 3.904
f4 |  |  | 5.734
D- PRESTRESSING FORCE vs ECCENTRCITY
Pt | 1/Pt | e1 | e2 | e
1.4247 | 0.70193 | 0.59311 | 0.77471 | 0.59311
1.8887 | 0.52945 | 0.48539 | 0.55425 | 0.48539
2.3528 | 0.42502 | 0.42017 | 0.42075 | 0.42017
2.8169 | 0.355 | 0.37644 | 0.33125 | 0.33125
3.281 | 0.30478 | 0.34508 | 0.26706 | 0.26706
3.7451 | 0.26701 | 0.3215 | 0.21878 | 0.21878
4.2092 | 0.23757 | 0.30311 | 0.18115 | 0.18115
4.6733 | 0.21398 | 0.28838 | 0.151 | 0.151
5.1374 | 0.19465 | 0.27631 | 0.12629 | 0.12629
5.6015 | 0.17852 | 0.26623 | 0.10567 | 0.10567
6.0656 | 0.16486 | 0.2577 | 0.088212 | 0.088212
5.6015 | 0.17852 | 0.082699 | 0.059483 | 0.082699
5.1374 | 0.19465 | 0.076191 | 0.075925 | 0.076191
4.6733 | 0.21398 | 0.068391 | 0.095633 | 0.095633
4.2092 | 0.23757 | 0.05887 | 0.11969 | 0.11969
3.7451 | 0.26701 | 0.046989 | 0.1497 | 0.1497
3.281 | 0.30478 | 0.031748 | 0.18821 | 0.18821
2.8169 | 0.355 | 0.011484 | 0.2394 | 0.2394
2.3528 | 0.42502 | -0.016773 | 0.31079 | 0.31079
1.8887 | 0.52945 | -0.058918 | 0.41726 | 0.41726
1.4247 | 0.70193 | -0.12852 | 0.59311 | 0.59311
II CHECKING CABLE PROFILE
Pt | 3.6 |  |  |  |  | Span | 19.5
Straining Actions
Sec. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Dist. | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9.75 | Eccentricity Range
Mow | 0 | 0.083487 | 0.15795 | 0.22338 | 0.27979 | 0.32718 | 0.36554 | 0.39487 | 0.41518 | 0.429 | e1 | 0.20905 | 0.23224 | 0.25293 | 0.2711 | 0.28677 | 0.29994 | 0.31059 | 0.31874 | 0.32438 | 0.32822
Mslab | 0 | 0.035613 | 0.067377 | 0.09529 | 0.11935 | 0.13957 | 0.15593 | 0.16844 | 0.1771 | 0.183 | e2 | 0.11338 | 0.13657 | 0.15725 | 0.17543 | 0.1911 | 0.20426 | 0.21492 | 0.22306 | 0.22871 | 0.23254
Msdl | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | e3 | -0.22862 | -0.17583 | -0.12875 | -0.087372 | -0.051702 | -0.021739 | 0.0025165 | 0.021065 | 0.033906 | 0.042645
Mll | 0 | 0.094969 | 0.17967 | 0.25411 | 0.31827 | 0.37218 | 0.41581 | 0.44918 | 0.47228 | 0.488 | e4 | -0.16806 | -0.10408 | -0.047026 | 0.0031164 | 0.046343 | 0.082653 | 0.11205 | 0.13452 | 0.15009 | 0.16068
Cable Profile
Sec. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Dist. | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9.75
#Strands | 10 | 12 | 14 | 16 | 18 | 20 | 20 | 20 | 20 | 20
Force | 1.8 | 2.16 | 2.52 | 2.88 | 3.24 | 3.6 | 3.6 | 3.6 | 3.6 | 3.6
emin | -0.16806 | -0.10408 | -0.047026 | 0.0031164 | 0.046343 | 0.082653 | 0.11205 | 0.13452 | 0.15009 | 0.16068
input e | 0.233 | 0.23 | 0.225 | 0.22 | 0.21 | 0.203 | 0.203 | 0.203 | 0.203 | 0.203
emax | 0.11338 | 0.13657 | 0.15725 | 0.17543 | 0.1911 | 0.20426 | 0.21492 | 0.22306 | 0.22871 | 0.23254
Check of Stresses at Transfer
f1 | -2.5216 | -1.4154 | -0.34191 | 0.63448 | 1.8037 | 2.747 | 3.4337 | 3.9588 | 4.3223 | 4.5697
f2 | 14.468 | 15.3276 | 16.2285 | 17.252 | 18.032 | 19.0974 | 18.2301 | 17.567 | 17.1079 | 16.7954
Check of Stresses after casting of toping slab
f1 | -2.1434 | -0.34141 | 1.3396 | 2.8449 | 4.421 | 5.7119 | 6.6915 | 7.4406 | 7.9592 | 8.3121
f2 | 12.2978 | 11.9402 | 11.7353 | 11.7523 | 11.68 | 11.9679 | 10.7308 | 9.7847 | 9.1297 | 8.684
Check of Stresses at Final Stage
f1 | -2.1434 | 0.41834 | 2.777 | 4.8778 | 6.9672 | 8.6893 | 10.018 | 11.034 | 11.7374 | 12.2161
f2 | 12.2978 | 10.207 | 8.4563 | 7.1149 | 5.8715 | 5.1757 | 3.1422 | 1.5872 | 0.51065 | -0.222
f3 | 0 | 0.75975 | 1.4374 | 2.0329 | 2.5462 | 2.9774 | 3.3265 | 3.5934 | 3.7782 | 3.904
f4 | 0 | 1.1159 | 2.1111 | 2.9858 | 3.7397 | 4.3731 | 4.8858 | 5.2778 | 5.5493 | 5.734
Mid Span
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0.235
[12 empty] | 0 | 2.1111 | 2.9858 | 3.7397 | 5.734 | 0.235
[12 empty] | 0 | 1.4374 | 2.0329 | 2.5462 | 3.904 | 0.16
[12 empty] | -2.1434 | 2.777 | 4.8778 | 6.9672 | 12.2161 | 0.16
[12 empty] | 12.2978 | 8.4563 | 7.1149 | 5.8715 | -0.222 | -0.365
[12 empty] | 0 | 0 | 0 | 0 | 0 | -0.365
Sec. At Dist.0 | 1: Sec. At Dist.2; 4: Sec. At Dist.4; 7: Mid Span
III CHECKING ULTIMATE CAPACITY
b | 0: 2.05
t | 0: 0.15
f'c | 0: 40
f's | 0: 1860
b1 | 0: 0.75972
g* | 0: 0.28
Astrand | 0: 140
f | bar: 0
Sec. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Dist. | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9.75
Mult | 0 | 0.36101 | 0.68299 | 0.96594 | 1.2099 | 1.2099 | 1.4148 | 1.5806 | 1.7075 | 1.855
d | 0.598 | 0.595 | 0.59 | 0.585 | 0.575 | 0.575 | 0.568 | 0.568 | 0.568 | 0.568
As* | 0.0014 | 0.00168 | 0.00196 | 0.00224 | 0.00252 | 0.00252 | 0.0028 | 0.0028 | 0.0028 | 0.0028
r* | 0.001142 | 0.0013773 | 0.0016205 | 0.0018678 | 0.0021379 | 0.0021379 | 0.0024047 | 0.0024047 | 0.0024047 | 0.0024047
fsu* | 1823.5967 | 1816.0958 | 1808.3443 | 1800.4604 | 1791.853 | 1791.853 | 1783.3479 | 1783.3479 | 1783.3479 | 1783.3479
Ductility | 0.052065 | 0.062534 | 0.073261 | 0.084074 | 0.095768 | 0.095768 | 0.10721 | 0.10721 | 0.10721 | 0.10721
Eq stress Block | 0.036629 | 0.043774 | 0.050852 | 0.057863 | 0.064784 | 0.064784 | 0.071641 | 0.071641 | 0.071641 | 0.071641
fMn | 1.479 | 1.7473 | 1.9992 | 2.2403 | 2.4472 | 2.4472 | 2.6538 | 2.6538 | 2.6538 | 2.6538
9.17 Flexural Strength
9.17.2 Rectangular Sections
a) having Prestressing Steel only
9.17.4 Steel Stress
9.18 Ductility Limits
9.18.1 Maximum Prestressing Steel
Y1
Y2
Y1,Y3
Y2
Y4
As*= area of prestressing steel (Art. 9.17).
b = width of flange of flanged member or width of
rectangular member.
d = distance from extreme compressive fiber to
centroid of the prestressing force, or to centroid of
negative moment reinforcing for precast girder
bridges made continuous.
f'c = compressive strength of concrete at 28days.
f*su= average stress in prestressing steel at ultimate
load.
f's = ultimate stress of prestressing steel.
t = average thickness of the flange of a flanged
member (Art. 9.17 and 9.17).
f = strength capacity reduction factor (Art. 9.14)
for factory produced precast prestressed concrete
members f = 1.0.
for post tensioned cast in place concrete
members f = 0.95.
for shear f = 0.90.
for anchorage zones f = 0.85 for normal weight
concrete.
g* = factor for type of prestressing steel (Art. 9.17)
= 0.28 for low relaxation.
= 0.40 for stress relieved steel.
= 0.55 for bars.
r* = A*s/bd ratio of prestressing steel.
b1 = factor for concrete strength.